Zone-Lux®

Preliminary Information for the Planning Company

The following tender text is provided to assist you in creating performance specifications. We kindly ask you to clearly identify the device suitable for the project and delete the non-selected device types (article numbers).

CAD (dwg, stp format) BIM data of the devices is available!

Automatic Flow Detector Tester for use in stationary fire protection systems

The new way of testing flow detectors - the simplified and resource-saving solution by directly connecting the signal lines and power supply (compact and pre-wired assembly).

Approvals

VdS Approval CEA 4001 and verification criteria according to EN 12259-5:2002

FM Approval

Green Product Types:	This product reduces Water Usage

Operating Conditions

Temperature Limits: 	4°C … 50°C (39°F … 122°F)

Pressure Limit: 	max. 16 bar

Installation Length: 	450 mm

Nominal Diameters: 	DN 50 ... DN 200 (left / right)

Flow Detector: 	Potter VSR-EU

Flow Sensitivity: 	30 ... 57 l/min.

Versions

Zone-Lux® Base

Scope of delivery: Main pipe, valves, pump, and flow detector

| Nominal Diameters and Description | Article Number |
| --- | --- |
| DN 50 (Ø 60,3 mm) left | ZLB1-EL |
| DN 50 (Ø 60,3 mm) right | ZLB1-ER |
| DN 65 (Ø 76,1 mm) left | ZLB1-FL |
| DN 65 (Ø 76,1 mm) right | ZLB1-FR |
| DN 80 (Ø 88,9 mm) left | ZLB1-GL |
| DN 80 (Ø 88,9 mm) right | ZLB1-GR |
| DN 100 (Ø 114,3 mm) left | ZLB1-HL |
| DN 100 (Ø 114,3 mm) right | ZLB1-HR |
| DN 150 (Ø 168,3 mm) left | ZLB1-KL |
| DN 150 (Ø 168,3 mm) right | ZLB1-KR |
| DN 200 (Ø 219,1 mm) left | ZLB1-LL |
| DN 200 (Ø 219,1 mm) right | ZLB1-LR |

Zone-Lux® Options for the Base Version

Zone-Lux® Direct Control

Scope of delivery: Main pipe, valves, pump, flow detector, and connection box with pipe mounting kit (optional pipe mounting kit attached and wired to the pipe)

| Description | Article Number |
| --- | --- |
| Direct Control (connection box with pipe mounting kit) | ZB-ZLD0 |
| Pre-wired Direct Control (connection box mounted on the pipe) | ZB-ZLD0-P |
| Key Switch for Direct Control | ZB-ZLK0 |

Zone-Lux® Adressable

Scope of delivery: Main pipe, valves, pump, flow detector, and Apollo module with pipe mounting kit (Apollo module optionally attached and wired to the pipe)

| Description | Article Number |
| --- | --- |
| Addressable (Apollo module with pipe mounting kit) | ZB-ZLA0 |
| Pre-wired Addressable (Apollo module mounted on the pipe) | ZB-ZLA0-P |

Key Switch

| Description | Article Number |
| --- | --- |
| for direct connection | ZB-ZLK0 |
| for direct connection incl. valve fault LED indication | ZB-ZLKV0 |
| Group Key switch | ZB-ZLKG0 |

Manufacturer: MECON GmbH - or equivalent

Type: Zone-Lux®

CAD-/BIM Data of the devices available!

Contact - Customer Service: +49 (0)2237 60006-0, info@mecon.de